Flow viscosity cup (IWATA NK-2 cup)

Description Based on Japanese method of liquid viscosity measure, this cup is used to test viscosity liquid flow through the taper orifice with interior diameter of 50mm and exterior diameter of 86 mm. Note: The Iwata cup is based on measuring the flow of liquid in seconds. A precision stopwatch is necessary. Technical data sheets Scientific name IWATA NK-2 cup Int. vertical height (mm) 430±0.1 Int. orifice (mm) Φ3.81±0.05 Ext. orifice (mm) Φ6.0±0.5 Centistokes range 70-370 Efflux time (sec) 20-105±0.2s Details of IWATA Cup Int. diameter (mm) 50±0.05 Ext. diameter (mm) 86±0.1 Int. orifice length (mm) 10±0.1 Operating Temperature (℃) 0-50±0.2